Agency ____________________________         Site ______________________

HCV Control Log for (month) ______________________ / (year) _________

| Date | QC Code | Test Device |  | Control Kit |  |  |  | Negative Control Result | HCV Ab+ Control Result | Results Acceptable? |  | Test Operator |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Lot # | Exp date | Lot # | Exp date | Date opened |  | Circle Result | Circle Result |  |  |  |
|  |  |  |  |  |  |  |  | N R I | N R I | Y | N |  |
|  |  |  |  |  |  |  |  | N R I | N R I | Y | N |  |
|  |  |  |  |  |  |  |  | N R I | N R I | Y | N |  |
|  |  |  |  |  |  |  |  | N R I | N R I | Y | N |  |
|  |  |  |  |  |  |  |  | N R I | N R I | Y | N |  |
|  |  |  |  |  |  |  |  | N R I | N R I | Y | N |  |
|  |  |  |  |  |  |  |  | N R I | N R I | Y | N |  |
| Quality Control Code (reason for running controls) - New setting - New operator - New test kit lot - New test kit shipment - Environmental change – temp outside range - Environmental change – temp outside range in test area - Environmental change – low lighting - Scheduled, periodic test - Other – document on back of this form |  |  |  |  |  |  | N – Non-Reactive R - Reactive I - Invalid Acceptable Results Negative and positive HCV controls must yield correct results. If either one yields an incorrect result, the results are unacceptable. Unacceptable Results DO NOT conduct any tests until the problem is resolved. Document problem and corrective action on the back of this form. |  |  |  |  |  |